The table displays the building regulations applicable for a range of common installation activities:

| Installation Activity | Part F | Part G | Part J | Part L | Part P |
| --- | --- | --- | --- | --- | --- |
| Hot water storage and drainage |  | Y | Y | Y | Y |
| Combustion appliances, fuel storage and heating systems |  | Y | Y | Y | Y |
| Electrical heating systems | Y |  |  | Y | Y |
| Air conditioning systems | Y |  |  | Y | Y |
| Plumbing systems and sanitaryware | Y | Y |  |  | Y |
| Electrical lighting systems |  |  |  | Y | Y |